## Summary
SAIL Safety Lens
Incident Summary Report
Generated: 25 June 2026
TOTAL INCIDENTS | CRITICAL/HIGH | OPEN | CLOSED
4 | 2 | 4 | 0
SEVERITY BREAKDOWN
CRITICAL | 0 | 0%
HIGH | 2 | 50%
MEDIUM | 2 | 50%
LOW | 0 | 0%
PLANT-WISE DISTRIBUTION
Corporate – Ranchi | 4
WSA-13 ROOT CAUSE ANALYSIS
5. Equipment failure | 2
8. Poor housekeeping | 2

## Incident Register
Incident ID | Date & Time | Incident Title | Plant/Unit | Department | Location | Severity | WSA-13 Category | Observation Type | Description | Immediate Action Taken | Report Type | Status | Reported By | P.No | Risk Score | AI Summary | Hazards Found | PDF Report Link
1782354827982 | 2026-06-25 08:04 | AI Hazard Scan: Exposed electrical wiring and connections | Corporate – Ranchi | Safety HQ | AI scan result | HIGH | 5. Equipment failure | N/A | The photograph displays an indoor domestic or office setting, featuring a desk with a laptop/monitor, an office chair, a wall-mounted electrical board, and a doorway. The most critical concern is the exposed and improperly installed electrical wiring and connections on the wall-mounted board, posing a severe risk of electrical shock and fire. | Immediately de-energise the circuit. Engage a qualified electrician to properly enclose all wiring, switches, and sockets in an approved, insulated electrical box, ensuring all connections are secure and insulated according to IS 732:1989. | AI_SCAN | OPEN | System Admin | ADMIN001 | 95 | The photograph displays an indoor domestic or office setting, featuring a desk with a laptop/monitor, an office chair, a wall-mounted electrical board, and a doorway. The most critical concern is the exposed and improperly installed electrical wiring and connections on the wall-mounted board, posing a severe risk of electrical shock and fire. | 2
1782364715979 | 2026-06-25 10:49 | AI Hazard Scan: Unsecured gas cylinders | Corporate – Ranchi | Safety HQ | AI scan result | MEDIUM | 8. Poor housekeeping | N/A | Two workers handling gas cylinders in a workshop. Blue cylinders secured with yellow straps, red cylinders visible. One worker adjusting valves on a cylinder rack. White walls, metal structures, and industrial equipment in background. | Install chain restraints for all gas cylinders | AI_SCAN | OPEN | System Admin | ADMIN001 | 85 | Two workers handling gas cylinders in a workshop. Blue cylinders secured with yellow straps, red cylinders visible. One worker adjusting valves on a cylinder rack. White walls, metal structures, and industrial equipment in background. | 3
1782303227912 | 2026-06-24 17:44 | AI Hazard Scan: Unsecured gas cylinders | Corporate – Ranchi | Safety HQ | AI scan result | MEDIUM | 8. Poor housekeeping | N/A | Industrial workshop with large gas cylinders. Two workers handling equipment. Cylinders secured with yellow straps. Partial view of red cylinders in foreground. White walls, metal structures, and industrial equipment visible. | Secure cylinders with appropriate chains and restraints per IS 4379:1981 | AI_SCAN | OPEN | System Admin | ADMIN001 | 85 | Industrial workshop with large gas cylinders. Two workers handling equipment. Cylinders secured with yellow straps. Partial view of red cylinders in foreground. White walls, metal structures, and industrial equipment visible. | 2
1782297737738 | 2026-06-24 16:12 | AI Hazard Scan: Unsecured suspended load | Corporate – Ranchi | Safety HQ | AI scan result | HIGH | 5. Equipment failure | N/A | A worker in an orange safety vest and helmet stands beneath a large, suspended metallic pipe in a steel plant workshop. The pipe has visible weld seams and is supported by overhead rigging. The worker is gesturing toward the pipe, likely coordinating its placement. The workshop has concrete pillars and industrial lighting. | Install safety barriers and fall arrest systems for suspended loads | AI_SCAN | OPEN | System Admin | ADMIN001 | 95 | A worker in an orange safety vest and helmet stands beneath a large, suspended metallic pipe in a steel plant workshop. The pipe has visible weld seams and is supported by overhead rigging. The worker is gesturing toward the pipe, likely coordinating its placement. The workshop has concrete pillars and industrial lighting. | 2